| Section 01 Document Information | Site: AMR | Procedure Type: | System: | Equipment System: |
| --- | --- | --- | --- | --- |
|  | [Site] | AP | Availability | Procedure Program |
|  | Review By Date: 7/10/2027 |  |  |  |
|  | AP Overview: |  |  |  |
|  | Standard for incident management procedures, including incident prevention, response, investigation, and reporting. |  |  |  |

Table of Contents

1)	Purpose	2

2)	Scope	2

3)	Key Responsibilities	2

4)	Procedures	3

a)	Incident Prevention	3

5)	Training	8

6)	Records and Documentation	8

7)	References	9

8)	Definitions	9

# Purpose

  - The purpose of this Incident Management Procedure is to establish minimum requirements for incident response, notification, investigation, and management at STACK Infrastructure (STACK) facilities and job sites.

# Scope

This Incident Management Procedure applies to all STACK Infrastructure employees, contractors, subcontractors, and vendors. Incidents include work-related injuries and illnesses, events that cause property damage, auto-related incidents, environmental incidents, near-miss events, and regulator visits.

This procedure does not cover operational event response and reporting procedures, which are covered in STACK Infrastructure’s Event Management Response and Event Response and Post-Mortem Reporting Procedures.

# Key Responsibilities

  - Vice President, Environment, Health, and Safety is responsible for:

    - developing and implementing this Incident Management Procedure;

    - conducting a periodic review of this procedure at a minimum of every 3 years to ensure that it is appropriately maintained;

    - supporting a culture that embraces Stop Work Authority;

    - reviewing all final incident investigation reports and ensuring the identification of root causes;

    - making necessary changes to this and other STACK Infrastructure procedures to correct any systemic issues discovered during the root cause investigation process;

    - notifying the Occupational Safety and Health Administration (OSHA) or other applicable regulatory agency of serious injuries, illnesses, or fatalities, if necessary; and

    - recording injuries, illnesses, or fatalities and reporting to the applicable regulatory agency, when required.

  - Director, Risk Manager is responsible for:

    - coordinating injury reporting with appropriate workers’ compensation, property, liability carriers or third-party administrators (TPAs); and

    - managing open claims to closure.

  - Director, People & Culture is responsible for:

    - maintaining confidential employee medical records and private information; and

    - assisting in the identification and documentation of light duty job offers for injured workers.

  - General Counsel is responsible for:

    - providing guidance and support related to incidents that result in or have the potential to result in legal action.

  - Critical Operations Managers and Development Managers are responsible for:

    - responding to any Stop Work notifications and mitigating associated hazards;

    - completing all first reports of injury and other notices of incidents;

    - participating in root cause investigations;

    - notifying contractor, subcontractor, and vendor organizations of incidents involving their employees and providing a copy of final incident reports;

    - assisting managers and supervisors with incident prevention procedures and correction actions; and

    - assisting managers and supervisors in incident investigations and response, as necessary.

  - Supervisors are responsible for:

    - ensuring all employees understand their responsibility and right to execute their Stop Work Authority;

    - enforcing all of STACK Infrastructure’s written safety procedures, including this Incident Management Procedure;

    - ensuring employees report all incidents and near misses within the required timeframes;

    - conducting incident investigations and determining possible root causes for all reported incidents and completing proper reports and required documentation;

    - submitting all completed incident investigations and reports within the required timeframe;

    - ensuring 911 is notified for emergency medical attention;

    - notifying site security immediately of all incidents;

    - directing injured or ill employees to non-emergency, off-site medical care and arranging transportation when necessary; and

    - identifying and implementing any necessary corrective actions found during the incident investigation.

  - All personnel, including STACK Infrastructure employees, contractors, subcontractors, and vendors are responsible for:

    - following all STACK Infrastructure written safety procedures, including this Incident Management Procedure;

    - completing all required incident management training;

    - immediately reporting all incidents, including near-misses, to their manager or supervisor;

    - when appropriate, executing their Stop Work Authority; and

    - participating in incident investigations when required.

  - Contractor, subcontractor and vendor companies are additionally responsible for conducting their own internal incident report and providing a copy to STACK Infrastructure in accordance with the timelines outlined within Section 4, or as directed by the STACK Infrastructure representatives and contract terms.

# Procedures

  - Incident Prevention

Effective incident management starts with incident prevention. Through our Job Safety Analysis (JSA) Procedure and our High Risk Activity (HRA) identification and pre-planning processes we make every attempt to identify and control all hazards that could present a danger to personnel or property.

Routine site inspections of work areas and work processes should be conducted to ensure hazards are identified and adequately controlled, as detailed in STACK Infrastructure’s Job Safety Analysis (JSA) Procedure and Inspections AP.

Stop Work Authority

All personnel, including contractors, subcontractors, vendors and clients, who believe their work task or environment presents a hazard that has not been controlled should immediately stop work and report the unsafe act or condition to their manager or supervisor.

Work will not resume until the hazard has been properly mitigated.

This authority can be executed at any time without concern for discipline or retribution.

Immediate Incident Response

The immediate safety and security of personnel and property takes priority over incident reporting. Ensure that individuals responding to an incident prioritize their own personal safety over any rescue or response actions. Provide appropriate care for the injured person(s) and witnesses before focusing on incident reporting and investigation.

Medical emergencies, take the following steps:

call 911, or instruct another capable individual in the area to call 911;

follow any applicable hazard-specific emergency procedures;

assess the scene for safety and perform first aid and/or cardiopulmonary resuscitation (CPR) if properly trained and it is safe to do so;

if possible, restrict access to the area of the injury or illness until an incident report and investigation can be completed;

report the injury or illness to the direct manager or supervisor, or the Critical Operations Manager or Development Manager if the direct manager or supervisor is not available; and

Establish an Incident Bridge and/or email Safety@stackinfra.com and follow the guidance in the Event Management-Event Response and Incident Reporting Procedure

Non-emergency injuries or illnesses:

perform first aid if properly trained and it is safe to do so;

        - seek outside medical attention if necessary, in accordance with site-specific requirements; and

        - report the incident to the direct manager or supervisor, or the Critical Operations Manager or Development Manager if the direct manager or supervisor is not available;

Medical Facilities

Each site will identify through STACK’s workers’ compensation insurance carrier and post the addresses and contact information for the following:

        - A local hospital with emergency services; and

        - At least 1 non-emergency Occupational Health Clinic.

Where allowed, employees will be directed to a clinic that specializes in occupational health.

Posters are maintained in SharePoint: 23. Safety and are accessible to all employees via OneSource.

Response to Regulator

Local Authority Having Jurisdiction (AHJ), this might include the local fire department/marshal, building code enforcement, City or County representatives.

The COM or their designee should be the point of contact to assist the JHA.

Federal or State Occupational Safety & Health Administration (OSHA) or Labor Enforcement

If a regulator arrives in response to a fatality or serious injury, contact the VP of EHS and Legal immediately. Outside counsel, specializing in labor compliance, will be consulted and engaged.

Construction projects under the control of a General Contractor

        - A STACK representative, preferably the construction safety manager or the project director, should attend the opening meeting, site walk/inspection, and closing meetings.

        - As soon as possible, the Construction Safety Manager should notify their EHS management chain of command. If there are neighboring STACK critical operations, the COM should be notified of the fact OSHA is on-site.

        - STACK’s role, assuming they are not a named party to the inspection, is to take notes, listen/observe, and ensure STACK is not brought into the inspection as a multi-employer.

Critical Operations

        - The VP of EHS and STACK General Counsel should be immediately contacted if OSHA arrives at the site.

        - The inspector should be asked to wait in the lobby until leadership can be contacted.

        - Never allow the inspector to walk unaccompanied around the exterior perimeter or within the data center.

        - Once leadership has been contacted, an opening conference can be held. Attendance should include the COM, ACOM, EHS representative and if available upline managers.

        - Written statements must be reviewed by legal counsel prior to signing.

        - Keep a written inventory of any copies of documentation requested and provided to the inspector.

Refer to EHS training content on Regulatory Response for additional information.

Environmental Protection Agency (EPA)

Local site leadership should meet with the regulator to determine the purpose of the visit and accompany the inspector.

The site should notify the VP of EHS and upline Critical Operations Leadership.

Incident Reporting

As soon as it is safe to do so and at least before the end of the work shift, report all incidents, including work-related injuries, illnesses, and events that result in property damage to the individual’s direct manager or supervisor, and/or Human Resources or the Vice President of EHS if the direct manager or supervisor is not available.

Work-Related Injuries and Illnesses

Report all injuries that occur during the performance of work-related activities.

This may include incidents that occur off-site or during work-related travel, but while performing work activities on behalf of STACK.

Initial reports should be submitted within SOSPES.

Risk Management will coordinate with the employee and manager to complete the STACK Incident Report Form (Appendix A) for submission to STACK’s workers’ compensation carrier.

A copy of the Incident Report Form must be completed promptly to allow for timely (within 24 hours) notification to the appropriate workers’ compensation carrier (US) or Provincial Board (Canada).

Some clients provide and require separate incident notification.

        - It is the responsibility of the STACK Client Manager to communicate requirements to the EHS Department and Director of Development.

        - Client-Specific Guidance for Journey

          - Journey job sites must also complete the “Incident Notification Report-Template”.

          - This form will be submitted by the Vice President of EHS via email to the Journey Safety Representative and the DCD Regional Construction Manager.

          - Additional detailed reporting timelines and requirements are provided by Journey and should be referenced during the notification process.

    - Property Damage Incidents

Report any incident that causes damage to property to the manager, supervisor, or the Critical Operations Manager or Development Manager if the direct manager or supervisor is not available.

If property damage is extensive, such as structural damage to buildings or hazardous equipment, and presents a potential hazard to personnel, evacuate and restrict access to the area until the damage can be properly assessed.

If appropriate, establish an Incident Bridge and follow the guidance in the Event Management-Event Response and Incident Reporting Procedure.

Details of the incident must be communicated to STACK’s Director, Risk Management and/or General Counsel.

Enter the incident in SOSPES for documentation and tracking purposes.

    - Auto Incident

      - If an employee is involved in an auto accident while driving on STACK business, the employee’s manager and Director, Risk Managment should be notified immediately. This applies when driving a personal vehicle, a STACK-owned vehicle, or a hired and non-owned (rental).

      - Auto incidents that occur during an employee’s normal commute to and from work are not considered work-related and do not need to be reported; unless Federal rules require.

      - Enter the incident in SOSPES for documentation and tracking purposes.

    - General Liability

      - If a client, client or STACK controlled vendor, or guest to a STACK facility is injured while on our property or is involved in an incident that could escalate where STACK would be liable, notify the Director, Risk Management, and STACK General Counsel after offering the appropriate care and emergency response. This could include slip and fall incidents or other incidents regardless of whether an injury was sustained.

      - Investigate the incident, note key information on the event, take witness statements and gather contact information for the person involved.

      - If appropriate, establish an Incident Bridge and follow the guidance in the Event Management-Event Response and Incident Reporting Procedure.

Enter the incident in SOSPES for documentation and tracking purposes.

    - Environmental Incidents

      - Notify the Vice President of EHS, and the appropriate Critical Operations Manager or Development of Director.

      - If appropriate, establish an Incident Bridge and follow the guidance in the Event Management-Event Response and Incident Reporting Procedure.

      - If there is an associated environmental plan, e.g., site-specific Spill Prevention Control and Countermeasure (SPCC) plan, follow all directions for response and reporting outlined within the plan.

      - Enter the incident in SOSPES for documentation and tracking purposes.

    - Near-Miss Reporting

Near-miss reporting is a proactive, leading indicator intended to identify potential risks and provide the opportunity for corrective actions before an incident occurs.

We believe near-miss reporting is also a measure of employee engagement and should never be viewed negatively. All employees, subcontractors, vendors, and clients should be encouraged to report near-misses, concerns, and safety suggestions.

All near-miss incidents should be reported within 24 hours of identification.

Near-misses should be documented within SOSPES and categorized in one of the following categories:

        - Close Call – an incident that reasonably could have resulted in a very serious incident if the circumstances were slightly different. The result could have been a serious or life altering injury, significant property damage (> $10,000), or environmental impact requiring reporting.

        - Unsafe Act

        - Unsafe Condition

        - At-Risk Behavior

        - Note: within SOSPES items b, c, and d are reported under the “Observation” section.

Clients may have specific near-miss reporting requirements.

        - Client-Specific Guidance for Journey

          - Journey defines near-misses into two distinct categories; Near-Miss and Serious or Potentially Serious Incident (SPSI). This is equivalent to a Close Call as defined in Section 8.

          - Serious or Potentially Serious Incident is defined in Section 8. Anything not in that category would be defined as a near-miss.

          - If a situation was evaluated and pre-planning identified the potential for an incident that occurs and the issue was caught and corrected and no person was at immediate risk, this would be classified a near-miss. However, if the near-miss was unforeseen, not part of pre-planning, and likely to cause serious injury or death it would be classified as a SPSI.

          - SPSIs have more stringent reporting and investigation requirements. The Client Manager and the Vice President of EHS should be contacted for communications with Journey.

If the near-miss incident is due to a previously unidentified or uncontrolled hazard, do not allow the work to continue until the hazard has been adequately controlled for and it is safe to resume the task.

  - STACK Leadership Notification

Incidents of a serious nature require internal notification to leadership via the Safety@stackinfra.com distribution list that has been established in Outlook.

Members of the distribution list include, but are not limited to, the CEO, COO, CDCO, VP of EHS, SVP of Operations, SVP of Development, Director of Construction Safety, Director of Operations Safety, Director of Risk Management and VP of Client Services.

Serious incidents requiring notification through Safety@stackinfra.com include, but are not limited to: medical emergencies, including those involving clients and vendors, any arrival of police, fire or ambulance to the site, and serious or potentially serious near miss situations.

  - Regulatory Reporting

Emergency notification to appropriate agencies for work-related fatalities or severe injuries is required as detailed below:

All fatalities occurring in the US must be reported to OSHA within 8 hours.

Any inpatient hospitalizations, amputations, or loss of sight in an eye must be reported to OSHA within 24 hours.

In California, regulations require all fatalities, loss of any body part, injuries with a serious degree of permanent disfigurement, and inpatient hospitalizations for a period greater than 24 hours for a purpose other than medical observation to be reported within 8 hours.

In Alberta, Canada, OHS must be notified as soon as possible if the incident results in:

        - death,

        - admittance to the hospital,

        - an unplanned or uncontrolled explosion, fire or flood that causes or may cause a serious injury,

        - collapse or upset of a crane, derrick or hoist, or

        - collapse or failure of any component of a building or structure.

In Ontario, Canada, the Ministry of Labour, Training and Skills Development, the workplace joint health and safety committee or health and safety representative, and the union (if applicable) must be notified in writing within 48 hours of the incident if the incident results in:

        - death or critical injury (see the Occupational Health and Safety Act for details),

        - occupational illness

        - an accident, explosion or fire, or there is an incident of workplace violence and someone is injured and can’t do their usual work or needs medical attention, or

        - an accident of unexpected event on a construction site, even if no one is hurt,

        - Additionally, if the workplace is not owned and the joint health and safety committee or health and safety representative identifies potential structural inadequacy of the building that could be a hazard to workers.

Due to STACK Infrastructure’s NAICS code 5182: Data Processing, Hosting, and Related Services, it is exempt from keeping OSHA, and state OSHA-equivalent injury and illness records, unless asked to do so in writing by OSHA, the Bureau of Labor Statistics (BLS), or state OSHA-equivalent. This includes the 301, 300 and 300A forms.

Environmental Incidents

Depending on the type of environmental event local, state or federal agencies may need to be notified.

If there is an associated procedure, such as a site-specific Spill Prevention Control & Countermeasure (SPCC) plan, follow the reporting directions contained within the plan.

  - Incident Investigation

All reported incidents are to be investigated by managers or supervisors as soon as possible.

    - Root Cause Analysis (RCA)

      - Any incident resulting in injuries or illnesses requiring treatment beyond first-aid, property damage, or classified as a close call or SPSI require the completion of a RCA.

      - Completed RCAs should be submitted to the Vice President, Environment, Health and Safety for review and distribution.

  - Incident Follow-up and Corrective Actions

Once root causes have been identified, supervisors and managers are to determine any necessary corrective actions with assistance from the Critical Operations Manager, Development Manager, Vice President of EHS, and other personnel as needed.

    - Corrective action plans resulting from the RCA process are the responsibility of the Critical Operations Managers or Development Managers. They must ensure appropriate assignment of accountabilities and manage the timeline for resolution.

    - After corrective actions have been implemented, the Critical Operations Manager or Development Manager is to evaluate them to ensure:

      - the corrective action is adequate to prevent similar incidents from reoccurring;

      - the corrective action does not introduce an additional hazard; and

      - any systemic issues that may have contributed to the incident have been addressed.

    - When possible, and while maintaining employee privacy, share incident information with other managers, supervisors, and personnel to convey lessons learned and prevent similar incidents from occurring in other areas.

# Training

  - All personnel shall be trained on the requirements of this Incident Management Procedure at the beginning of employment and annually thereafter, when incident management procedures change, or when an employee demonstrates a lack of competency or knowledge of these procedures. Training topics are to include:

    - procedures, roles, and responsibilities described in this procedure;

    - the importance of prompt incident reporting;

    - their accountabilities related to Stop Work Authority;

    - how to report incidents and near-misses;

    - expectations related to incident investigations; and

    - the process for accessing medical care after an incident.

  - Additional training topics related to incident investigation for managers and supervisors include:

    - how to secure the scene of an incident;

    - how to identify and collect applicable evidence;

    - how to interview witnesses and document statements;

    - how to complete required forms;

    - when applicable, client-specific reporting requirements,

    - how to conduct a RCA, and

    - how to identify and implement corrective actions.

# Records and Documentation

- All incident reports related to an employee will be maintained for the length of the individual’s employment.

- Near-miss reports, RCAs, and corrective action plans will be maintained for at least five years.

- All incident reports related to a client project will be maintained for the duration of the project, at a minimum, or as defined by the Client Success Manager.

- Training records for all employees, including the contents of the training, the name of the instructor, the date of the training, and the name of the employee(s) trained, will be maintained within STACK’s LMS and will be kept of file for the length of the individual’s employment.

# References

  - STACK Infrastructure’s Event Response and Post -Mortem Reporting Procedure

  - STACK Infrastructure’s Event Management-Event Response and Incident Reporting Procedure

  - OSHA Standards 29 CFR 1904 Subpart C: Recording and Reporting Occupational Injuries and Illness

  - Title 8 California Code of Regulations Subchapter 1. Occupational Injury or Illness Reports and Records

  - Ontario, Canada Recordkeeping Rules: https://www.ontario.ca/page/reporting-workplace-incidents-or-structural-hazards

  - Alberta, Canada Recordkeeping Rules: https://www.alberta.ca/report-serious-injuries-incident.aspx

# Definitions

  - Close Call: an incident that reasonably could have resulted in a very serious incident if the circumstances were slightly different. The result could have been a serious or life altering injury, significant property damage (> $10,000), or environmental impact requiring reporting.

  - Incident: an undesired, work-related event that results in injury, illness, or property damage.

  - Near-Miss: any event in which no personal injury or illness was sustained and no property was damaged, but given a slight shift in time or position, damage and/or injury or illness could have occurred. Near-misses include close calls, at-risk behavior, unsafe act, and unsafe condition.

  - Serious or Potentially Serious Incident (SPSI): is a Journey defined term which further describes types of near-miss events that require more immediate and in-depth investigation and response. SPSI is a an EHS incident that, in one’s professional judgment, could have resulted in a serious incident of fatality if circumstances were slightly different. If the hazard was identified and accounted for in the pre-planning process and still occurred, it can be defined as a near-miss. However, when the hazard was not accounted for as a potential risk before the event occurred, it should be classified as a SPSI.

  - Stop Work Authority: The responsibility owned by every employee, contractor, subcontractor, vendor or client of STACK’s to stop work immediately if a hazard has been identified that causes concern for the immediate well-being of a person or property.

| Section 02 | Document Approval |  |
| --- | --- | --- |
| Peer Review: | Reviewers Name: Donna Lynch | Date: 12/22/2022 |
| Management Approval: | Approvers Name: [Approvers Name] | Date: [Approvers Date] |

|  |  |  |  | Document Control |  |
| --- | --- | --- | --- | --- | --- |
| Version | Section | Change |  |  | Date |
| V2 | 2 3 b,c,d,h 4 c 3 iii | Clarified applicability for regulator inspections Updated responsibilities Updated location of posters Overall change throughout making Director, Risk Management point person vs. VP, EHS for reporting Added section 4d) Response to Regulator |  |  | 7/10/2024 |