| Section 01 Document Information | Site: | Procedure Type: | System: | Equipment System: |
| --- | --- | --- | --- | --- |
|  | STACK AMER | AP | Safety | Business Continuity Plans |
|  | Review By Date: 11/30/2027 |  |  |  |
|  | AP Overview: |  |  |  |
|  | The following AP is intended to identify applicable emergency situations for specific sites. The plan should be completed and customize to the site and represent appropriate response. This plan does not include emergency situations related to equipment and uptime covered in the Event Management AP. |  |  |  |

Table of Contents

1)	Purpose	1

2)	Scope	1

3)	Key Responsibilities	1

4)	Contacts and Communication	2

5)	Emergency Planning and Preparedness	4

6)	Training	7

7)	Emergency Response Procedures	7

8)	Emergency Response Procedures	11

9)	Document Approval	11

# Purpose

  - This STACK Emergency Response Plan (ERP) has been developed to ensure adequate emergency preparedness with rapid and appropriate response to emergency situations. An emergency situation includes but is not limited to the following: anything that threatens employees, contractors, visitors, or the public; disrupts or shuts down operations; or causes property or environmental damage. Emergencies can be natural or man-made, and may involve life-threatening injuries, natural disasters, chemical spills, fires, explosions, and other hazards.

- Scope

  - This Emergency Response Plan specifically applies to STACK’s operation at <INSERT LOCATION>.

- Key Responsibilities

  - The Critical Operations Manager is responsible for:

    - Serving as the incident commander and implementing the emergency response plan as outlined in this document

    - Assisting with ensuring employees get to assembly point or shelter-in-place location

    - Coordinating with external emergency services

    - Ensuring notification and ongoing communications occur with the STACK corporate/senior leadership teams, including following processes outlined with the AMR-AP-Communication-Event Management-Event Management Response procedure

    - Ensuring employee communications occur during emergency situations, as needed

    - Ensuring employees know and understand the site emergency response procedures

    - Supporting and encouraging employee participation in the implementation of the site Emergency Preparedness and Response Plan including emergency drills

  - Site Security is responsible for:

    - Being familiar with the Site Emergency Response Plan

    - Provide support to the Critical Operations Manager during emergency response

    - If required, Site Security will function as the incident commander until such time as a Critical Operations Manager or Critical Operations Technician assumes the role of incident commander

    - Facilitate mass communication as required

    - Assist in the coordination and implementation of emergency drills

  - The Environmental, Health, and Safety (EHS) team is responsible for:

    - Facilitating and supporting the development and maintenance of STACK’s Emergency Response Plans at each site

    - Assisting the Critical Operations Manager in the implementation of this procedure

    - Providing expertise in emergency response planning, development and roll out

    - Advising on the applicability and creation of additional hazard-specific emergency response plans (e.g. Spill Prevention, Control and Countermeasure plans (SPCC))

  - All employees are responsible for:

    - Being familiar with the Site Emergency Response Plan

    - Following the emergency procedures outlined in the plan

    - Following the instructions of the Critical Operation Manager or designated person in charge of the site

    - Participating in emergency drills

    - Proceeding to assembly point upon evacuating the building and remaining until dismissed by Management

  - Oversight of any guests, visitors, or contractors under their supervision during an emergency to ensure their safe evacuation

# Contacts and Communication

  - External Emergency Contacts

| Service | Emergency Contact Name/Number | Non-Emergency Dispatch Number | Non-Emergency Department Number |
| --- | --- | --- | --- |
| Fire |  |  |  |
| Police |  |  |  |
| Ambulance |  |  |  |
| Local Hospital |  |  |  |
| Poison Control Center |  |  |  |
| Local Gas/Electric Provider |  |  |  |
| Local Water/Sewer Provider |  |  |  |
| Building Management (landlord/property manager) |  |  |  |
| Elevator (if applicable) |  |  |  |
| Janitorial |  |  |  |
| Critical Vendor ??? |  |  |  |
| Critical Vendor ??? |  |  |  |
| Building Engineer, etc. |  |  |  |
| Building/On-Site Security |  |  |  |

  - Internal Emergency Contacts

| Role | Primary Contact | Primary Number | Alternate Contact | Alternate Number |
| --- | --- | --- | --- | --- |

# Emergency Planning and Preparedness

  - Identification of Potential Emergencies.

    - STACK has evaluated the potential emergency situations that could apply to the <INSERT LOCATION> site. Emergency response risks and procedures for the emergency situations identified below have been considered for the site. Where appropriate specific procedures have been developed. These procedures are located in Section 6.0.

| Emergency Category | Types of Emergencies | Applicability to the Site |
| --- | --- | --- |
| Medical | - Emergency injury or illness (e.g., cardiac arrest, loss of consciousness, electric shock) | - ☐ YES ☐ NO |
|  | - Non-emergency injury or illness (e.g., small cuts and bruises) | - ☐ YES ☐ NO |
| Fire and/or explosion | - Fires from equipment or combustibles | - ☐ YES ☐ NO |
|  | - Batteries | - ☐ YES ☐ NO |
|  | - Flammable Chemicals | - ☐ YES ☐ NO |
| Natural disasters / Weather Related | - Earthquakes | - ☐ YES ☐ NO |
|  | - Flood | - ☐ YES ☐ NO |
|  | - High winds/Tornado | - ☐ YES ☐ NO |
|  | - Lightning | - ☐ YES ☐ NO |
|  | - Hurricane | - ☐ YES ☐ NO |
| Utility failure | - Power outage, gas leak, communication outages, water | - ☐ YES ☐ NO |
| Civil disturbances | - Demonstration/picketing within the site vicinity | - ☐ YES ☐ NO |
| Neighboring properties and transportation routes | - Nearby transportation routes or systems, e.g., rail, highways, airports. | - ☐ YES ☐ NO |
|  | - Nuclear power plants | - ☐ YES ☐ NO |
|  | - Chemical or explosives manufacturing | - ☐ YES ☐ NO |
|  | - Abandon buildings, homeless encampment | - ☐ YES ☐ NO |
| Security | - Uninvited Visitors/Trespassers | - ☐ YES ☐ NO |
|  | - Workplace violence or active shooter | - ☐ YES ☐ NO |
|  | - Bomb threats | - ☐ YES ☐ NO |
|  | - Suspicious mail packages | - ☐ YES ☐ NO |
| Spills/Environmental Release | - Diesel Fuel | - ☐ YES ☐ NO |
|  | - Chemical | - ☐ YES ☐ NO |
|  | - Batteries | - ☐ YES ☐ NO |

  - Evacuation Routes, Shelter-In-Place Locations and ERP Maps

    - Evacuation routes have been identified on the site map which can be located <INSERT LOCATION>. Once a person has evacuated from the facility they will move to the designated assembly point. The assembly point is located <INSERT LOCATION> and is noted on our maps.  If the primary assembly point is not available, a secondary location has been identified <INSERT LOCATION>.

    - For emergencies requiring people to shelter-in-place, the following locations have been identified: <INSERT LOCATION> site. Shelter-in-place locations include facility restrooms and interior hallways that do not have windows or mechanical equipment.

    - Copies of the ERP maps, including assembly location maps are saved in the following SharePoint location; <INSERT LOCATION>.

  - Emergency Resources and Equipment Requirements

    - The following emergency equipment are in place:

      - First aid kit located:

        - <INSERT DESCRIPTION OF LOCATION>

        - <INSERT DESCRIPTION OF LOCATION>

        - <INSERT DESCRIPTION OF LOCATION>

        - <INSERT DESCRIPTION OF LOCATION>

      - AED located:

        - <INSERT DESCRIPTION OF LOCATION>

        - <INSERT DESCRIPTION OF LOCATION>

      - Fire extinguishers located throughout the facility, see Appendix A for map of locations

      - Radios located <INSERT DESCRIPTION OF LOCATION>

      - Emergency water (5-gallon jugs) located <INSERT DESCRIPTION OF LOCATION>

      - Emergency Tote – containing shelter-in-place supplies <INSERT DESCRIPTION OF LOCATION>

      - Evacuation GO KIT – containing evacuations supplies including radios, Megaphone, High-Vis Vest located at <INSERT DESCRIPTION OF LOCATION>

      - Shepherds Hook – <INSERT DESCRIPTION OF LOCATION>

      - Spill kits are located:

        - <INSERT DESCRIPTION OF LOCATION>

        - <INSERT DESCRIPTION OF LOCATION>

    - Equipment is periodically inspected, maintained, and replaced, in accordance with the maintenance procedures established in NetSuite and referenced in associated APs, including but not limited to AP-Safety-Employee Exposure-First Aid-CPR-AED Procedure found in Playbook.

    - Critical Operations is responsible for maintaining and inspecting life safety systems including fire extinguishers, alarm systems, sprinkler systems, etc. Inspections and preventative maintenance shall be:

      - Conducted according to manufacturer recommendations and in accordance with regulatory requirements

      - Performed by trained and competent personnel

      - Inclusive of procedures for repair/replacement of supplies or equipment

  - Emergency Drills

    - At a minimum, the <INSERT LOCATION> site will conduct an annual fire evacuation emergency drill.

    - Documentation of the drill should be kept in an associated NetSuite case.

  - Emergency Communications

    - In an emergency, effective and timely communication is critical.  This Plan includes emergency response procedures that have considered and evaluated the proper communication protocols to ensure a timely and appropriate response to emergencies at <INSERT LOCATION>.  For the <INSERT LOCATION> site this includes but is not limited to:

      - Email

      - Instant Message Platform (Slack, Teams etc.)

      - Cellular Phones

      - Pager Duty activation

      - 2-way Radios

    - For the <INSERT LOCATION> STACK has implemented critical contact group messaging using…

    - STACK has developed sample critical messages for use during an emergency these can be found in Appendix X

    - STACK tests the critical messaging methods at regular intervals, at least once per year.

# Training

  - All employees will receive the following training on the emergency response plan for their assigned site.

    - Training will be provided at the time of hire and initial implementation of this program. Subsequent training will be provided via annual emergency drills and internal communications.

    - The training will ensure employees know how to activate the emergency response plans to obtain assistance, evacuate the building and when/where to shelter-in-place.

    - Employees identified/designated to fulfill a key role in the emergency response plan will receive initial training and subsequent training as the plan changes.

# Emergency Response Procedures

  - CUSTOMIZE THIS SECTION ACCORDINGLY FOR YOUR SITE, refer to the Risk Assessment completed in section 5 above, deleting the sections below that do not apply. Also delete this note once edits are made.

  - Medical Emergencies (911)

    - In the event of a medical emergency or life-threatening situation, call 911, immediately.

    - Trained first aid responders should be notified and if willing respond to the situation. Resources identified in section 5c of this plan should be leveraged in the response.

    - Serious and life-threatening situations are classified as a Sev2 Event and the appropriate processes should be implemented in accordance with AMR-AP-Communication-Event Management-Event Management Response.

    - Non-emergency medical situations should be brought to the attention of your Critical Operations Manager (COM). If needed, COM will evaluate and ensure the employee receives medical attention.

    - All incidents should be reported to EHS via the SOSPES tool.

    - Refer to posted information regarding the location of the nearest Occupational Medical facility for employee treatment of non-911 work-related injuries. Links to the designated clinic(s) and ERs for your site are found on OneSource, under the safety tab.

    - Notify building security and the COM of all 911 notifications.

    - Send someone outside to meet emergency responders and escort them to the location of the emergency.

  - Fires CUSTOMIZE THIS SECTION ACCORDINGLY FOR YOUR SITE

    - This facility is equipped with automatic sprinkler systems, VESDA, and fire alarms.

    - Fire alarms are located throughout the facility and can be used to indicate a fire and the need for evacuation. All people should evacuate the building when and alarm sounds.

    - Proceed to the nearest exit and go to the designated assembly area.

    - Fire extinguishers are mounted throughout the facility. If trained to their use, they may be used to extinguish a small fire (e.g. roughly 3’x 3’ in size or approximately the size of a small trash can). If the fire is larger than what can be extinguished with a single extinguisher, attempts to extinguish the fire should end, personnel should evacuate and wait for professional emergency services.

    - Fire emergencies are classified as a Sev1 Event and the appropriate processes should be implemented in accordance with AMR-AP-Communication-Event Management-Event Management Response.

    - Critical Operations Team should ensure that client representatives are made aware of the emergency.

    - Critical Operations Manager or their designee should:

      - Assume the role of incident commander and obtain a headcount of those that have evacuated.

      - Communicate with local emergency responders.

      - Notify STACK Operational Leadership, EHS, and Client Success about the emergency situation.

      - Follow all media relations protocols in place from STACK Marketing.

  - Diesel Fuel Spill or Release

    - Upon discovery of a diesel fuel release/spill, notify Critical Operations Manager immediately.

    - Remain clear of the release/spill unless you are trained and authorized to assist with the spill response.

    - Follow the spill response procedures outlined within the site’s SPCC plan.

    - Refer to section 5c of this plan for the location of spill kits.

    - Notify STACK EHS about the emergency situation. They will provide assistance and support for any needed regulatory notifications.

  - Chemical Spill or Release

    - Upon discovery of a spill or release from oil storage infrastructure, notify Critical Operations Manager immediately. <Insert reference to existing EOPs>

    - Remain clear of the spill/release unless you are trained and authorized to assist with spill response activities.

    - Refer to the Safety Data Sheet (SDS) for the chemical that has been released. Identify proper PPE and spill response measures on the SDS.

    - Contain the spill in a safe and controlled manner. Leverage resources identified in section 5c of this plan.

    - Notify STACK EHS about the emergency situation and they will provide further guidance on regulatory reporting requirements.

  - Active Shooter

    - If safe to do so, call 911 and/or notify STACK Security.

    - The priority should be to determine the most reasonable way to protect your own life.

    - Follow the simple principle of RUN – HIDE - FIGHT

      - Run: Identify an escape route, leaving all belongings behind, run to create distance between yourself and the threat.

      - Hide: If you can’t escape, hide in an area out of the active shooter’s view. If possible secure yourself in a locked area behind doors without windows. Block entry to your hiding place, silence radios and cell phones, stay quiet and be prepared to adjust to the situation as necessary.

      - Fight: As a last resort, and only when your life is in imminent danger should you attempt to incapacitate the active shooter. Act with physical aggression, utilize nearby objects as weapons, attempt to create space and get away from the situation.

  - Earthquake

    - Follow the simple principle of DROP, COVER, HOLD ON

    - Get under something solid like a desk or table

    - Stay away from windows, glass walls and skylights

    - Be prepared for aftershocks

    - Stay in the building unless you are in immediate danger

    - Do not use elevators

    - If it is necessary to evacuate, go to an open space away from buildings to avoid falling window glass and debris

    - Following the earthquake, the Critical Operations Manager (COM) should assume the role of Incident Commander and convene the Critical Operation Team to:

      - Determine if the severity of the earthquake warrants evacuating the building, if so, initiate evacuation and follow evacuation procedures

      - Evaluate status of employees and check for injuries among co-workers

      - Provide first aid, if willing and able

      - If evacuation was necessary, the COM should obtain a headcount of all employees, including names and contact numbers

      - Instruct employees not to leave the site without “checking out” by notifying the COM of their intended departure

      - Notify STACK EHS and provide status update

  - Severe Weather, Tropical Storms, and Flooding

    - Stay tuned to weather reports, as many severe weather events can be forecasted hours before they occur, and early planning can ensure safety

    - Proceed to the designated shelter-in-place location to seek cover and protection.

    - If flooding is occurring move to second floor of building, if possible

    - Evacuations – if an evacuation is appropriate, communicate with management that you and co-workers are leaving the site and will be going home. Do not leave the site without notifying your management

    - Stay away from damaged areas and downed power lines

    - Following the severe weather event, the Critical Operations Manager (COM) should assume the role of Incident Commander and convene the Critical Operations Team to:

      - Evaluate status of employees and check for injuries among co-workers

      - Provide first aid, if willing and able

      - Obtain a headcount of all employees, including names and contact numbers

      - Instruct employees not to leave the site without “checking out” by notifying the COM of their intended departure

      - Notify STACK EHS and provide status update

  - Tornados, Cyclones and Hurricanes

    - Stay tuned to weather reports, as many severe weather events can be forecasted hours before they occur, and early planning can ensure safety

    - Proceed to the designated shelter-in-place location and seek cover and protection within the facility.

    - Remain in place – Once tornado, cyclone or hurricane has passed, do not immediately evacuate unless it is safe to do so.

    - Do not leave the site without notifying your management

    - Most injuries occur from falling glass, plaster, debris, and electrical lines as people are leaving damaged buildings; use caution and assume all electrical lines are energized

    - Stay away from damaged areas and downed power lines

    - Following the event, the Critical Operations Manager (COM) should assume the role of Incident Commander and convene the Critical Operations Team to:

      - Evaluate status of employees and check for injuries among co-workers

      - Provide first aid, if willing and able

      - Obtain a headcount of all employees, including names and contact numbers

      - Instruct employees not to leave the site without “checking out” by notifying the COM of their intended departure

      - Evaluate facility and surroundings to identify immediate hazards, inform employees of the hazards and keep employees away from hazardous areas

      - Notify STACK EHS and provide status update

  - Other Emergencies

| Kind of Emergency | Recommended Employee Response | Recommended Critical Operations Team - Special Instructions |
| --- | --- | --- |
| Bomb threat | - Notify Security and the Critical Operations Manager. - Await further instructions while local authorities are notified. - Respond according to guidance from Critical Operations Manager and local authorities. | Gather as much information as possible about the threat time and location and about the caller. Call 911 If evacuation is initiated, do not permit employee re-enter of the facility until authorities say it is safe to do so. |
| Civil disturbances | - Notify Security and the Critical Operations Manager. - Continue operating, stay away from windows/entrances. - Await communication from Critical Operations Team, to determine if shelter-in-place is required. | Security/Critical Operations Team continue to evaluate situation. Call law enforcement if entrances or exits are blocked or protestors become violent. |
| Suspicious packages and letters | - Notify Security and the Critical Operations Manager. - Await further instructions from Critical Operations Team. - Respond according to guidance from Critical Operations Team and local authorities. | Evaluate and if appropriate, notify 911. Isolate the area where the package is located or evacuate the building as advised by authorities If evacuation is initiated, do not permit employee re-enter to the facility until authorities say it is safe to do so. |

# Emergency Response Procedures

  - STACK AMER-AP-Communication-Event Management-Event Management Response

  - ERP Site Specific Template_Map Creation Resource and Guidance.doc

# Document Approval

| Section 02 | Document Approval |  |
| --- | --- | --- |
| Peer Review: | Reviewers Name: Brad Hitchcock | Date: 11/30/2022 |
| Management Approval: | Approvers Name: [Approvers Name] | Date: [Approvers Date] |