## General Safety
General Safety Questions
Question |  | Result
1 | Where can you find the Safety APs?
2 | What is the hierarchy of risk controls?
3 | What doe we use SOSPES for?
4 | What is STOP work?
5 | Who can STOP work and give an example
6 | What is the purpose of the Electrical Safety Procedure?
7 | According to the Hearing Conservation AP, at what level dBA should you wear hearing protection?
8 | Name two types of hearing protection?
9 | What are the areas at this site that is designated as high noise areas?
10 | What is STACKS standard on ladders?
11 | What do you do/need if you need to use a ladder?
12 | What is the difference between fall protection and prevention?
13 | How many feet from an uprotected side or edge do you need protection?
14 | When is Lone Worker not permitted?
15 | What do you need for lone worker as far as communication goes?
16 | What is machine guarding?
17 | Give me an example of machine guarding on site.
18 | What is a confined space?
19 | Where are the confined spaces on site?
20 | Name three types of PPE on site.
21 | When is PPE required?
22 | How do you determine what PPE is required?
23 | How do you test your rubber gloves?
24 | What is the purpose of LOTO?
25 | What is the purpose of a Live Dead Live?
26 | Walk me through a LDL.
27 | What is a JSA, and when are they used?
28 | Where are the evacuation plans located at?
29 | What is on a Hazmat label?
30 | Where are you site spill kits located?
31 | What is the difference between spill kits?
32 | Where are the safety SOPs located?
33 | What is an SDS? Where are they ar on site?
34 | What information is on an arc flash label?
35

## Maintenance Worker
Maintenance Worker Questions
Question |  | Result
1 | What is TPVR?
2 | Walk me through point read operate.
3 | What will you do if a procedure is incorrect?
4 | What is the role of an Operator?
5 | What is the role of a Controller?
6 | Where are your procedures located?
7 | Give me an example of low risk work?
8 | Give me an example of medium risk work?
9 | Give me an example of high risk work?
10 | What types of procedures are there and whats the differences between them?
11 | Walk me through a procedure from start to finish (from putting it in progress to completion).
12 | How and when would you create a PagerDuty?
13 | What are your expectations for communications during an event?
14 | What information is provided on an A-J?
15 | What do you do if there is a fire at site?
16 | What do you do in the event of a fuel spill?

## Data Center Overview
Data Center Overview |  |  |  | Notes
Question |  | Answer | Result
1 | Draw One Line From MV to PDU
2 | Where are your PQMs?
3 | Where are your open transitions and closed transitions?
4 | Walk through a loss of utility
5 | What happens to the mechanical equipment during a utility loss?
6 | What happens to the UPS during the event?
7 | How long can the UPS sustain load on batteries?
8 | What voltage will the batteries drop at?
9 | Why will the batteries drop out? What is the purpose?
10 | Walk me through placing the system into maintenance bypass.
11 | Why does the system need to be in static bypass before talking it to maintenace bypass?
12 | What is the purpose of the SKRU light?
13 | Walk me through what happens if the UODP loses power (either at the MCB or STS input).
14 | If an PDU is de-energizied, why is it important to have the upstream equipment in bypass before energizing?
15 | Walk me through the inhibit system.
16 | When would we disable the inhibit system?
17 | If the MSB was lost (example it failed to transfer to gen during an outage) what happens to the downstream equipment? Both mechanical and critical load?
18 | Draw Refrigeration Cycle
18 | What happens in the evaporator?
19 | What happens in the condesnor?
20 | What does the compressor do?
21 | What is the purpose of the metering device?
22 | What are the states of the refrigerant throughout the cycle?
23 | What is superheat?
24 | Why is superheat important?
25 | What happens if liquid returns to the compressor?
26 | What would you expect to see if the condenser was clogged, or fans stopped working?
General
27 | How often are rounds to be performed?
28 | Explain the meaning of N, N+1, N+2.
29 | Explain containment.
30 | Why are pre-action fire risers preffered in critical spaces?
31 | What is PUE and how is it determined?
32 | Why is PUE important
33 | When is fire watch required?
34 | What is the Meet Me Room (MMR)?
35 | Where are your site's procedures located?
36 | What is the difference between a minor and major fire per STACK's policy?